## Sheet2
Functional requirement
Requirement ID | Area/Category | Description | Source | Rationale | Priority | Dependencies | Benefit | Stakeholders | Owner | Acceptance criteria | Status
1.1 | Data Collection | Data collection from various energy consumption points | Business Case | Enables granular tracking of energy use to identify inefficiencies | Must Have(M) | Availability of energy devices and sensors | Provides detailed usage energy analysis for decision making | Energy Managers, IT Team | Operations manager, | System captures and stores accurate data from all energy consumption points | Not started
1.2 | Real-Time Monitoring | Real-time monitoring and display of energy usage | Business Case | Allows for immediate visibility of energy consumption trends | Must Have(M) | Stable network infrastructure for continous system monitoring | Enhances Immediate response to abnormal energy usage | Energy Managers, IT Team, Operations team | Operations manager | System displays real-time energy consumption with a margin of ±1% | Not started
1.3 | Historical Data Storage | Historical data storage and retrieval | Business Case | Enables analysis of past energy usage to detect trends | Must Have(M) | Data storage systems | Improves long-term energy management and forecasting | Energy Analysts, IT Team | Operations manager | Past energy data is retrievable and accurate | Not Started
1.4 | Alerts and escalation | Automated alert system for unusual energy consumption patterns | Business Case | Helps to detect potential energy waste or faults early | Must Have(M) | Monitoring and data collection in place | Minimse energy losses and equipment failure | Energy Managers, IT Team | Operations manager | Alerts are triggered accurately when unusual patterns are detected with 0.1% abnormal triggering over a 6-month period | Not Started
1.5 | Reporting and Analytics | Create and customize Key Performance Indicators (KPIs) and reports | Business Case | Meet varying need for data analysis, reporting, customisable KPIs to track relvant metrics | Must Have(M) | User-friendly reporting tools and dashboard customization features. | Enhances the system’s flexibility by allowing users to tailor reports to their specific needs. | Operations team, Energy Manager, IT Department | Energy manager | Users should be able to define and customize at least 5 KPIs and generate custom reports within the system. | Not started
1.6 | System security | User authentication and access control | Business Case | Enhances security measures for the system. | Must Have(M) | IT systems and security protocols | Protects the system from unauthorized access | IT Team, Security Team | IT Manager | Access is restricted to only authorized users | Not started
1.7 | System Compatibility | Integration with existing factory management systems | business Case | Allows for seamless operation and data flow across systems | Must Have(M) | Compatibility with existing infrastructure (systems, and equipments) | Ensures data accuracy and reduce additional cost (scope creep) | IT Team, Operations Team, Energy manager | Operations manager | Systems integrate without errors or data loss | Not Started
Non-functional requirement
Requirement ID | Area/Category | Description | Source | Rationale | Priority | Dependencies | Benefit | Stakeholders | Owner | Acceptance criteria | Status
2.1 | System Performance | System response time<2 seconds | Business Case | Ensure system responsiveness and user satisfaction | Should have (S) | Hardware infrastructure, software optimization, network capacity | Enhanced user experience with faster navigation | IT Department/UX/UI Designers. | IT Performance Specialist | All user interactions or page loads must occur within 2 seconds under normal operating conditions. | Not started
2.2 | System Scalability | Ability to handle increased data volume as the factory grows | Business Case | To future-proof the system for factory expansion and increased data collection | Should have (S) | Integration with scalable database and adequate IT infrastructure to support increasing data loads. | Ensures long-term viability of the system and supports business growth, while reducing the need for system upgrade | IT Manager,Energy manager, Plant manager Operations Manager | IT Infrastructure Manager | The system should handle a 50% increase in data volume without performance degradation during stress tests. | Not started
2.3 | System reliability | The system must mainatain 99%uptime | Business Case | Ensure continuous monitoring and minimize disruptions to energy management | Should have (S) | Stable IT infrastructure and Proper monitoring and alert mechanisms for system failures. | Ensures consistent energy monitoring and managementand energy opitmisation | Operations Manager, IT Manager, Energy Manager, Senior Management | Energy manager | System achieves 99% uptime during normal condition over a 3-month evaluation period | Not started
2.4 | Data Quality | Achieve ±1% margin of error in energy measurement | Business Case | Ensure reliable energy consumption data for analysis and decision-making, minimise missed energy-saving opportunities | Must have (M) | Acccurate calibration of energy meters and high quality sensors, data validation processes | Enables accurate energy analysis for decision making, supports precise cost allocation and efficiency measures | IT manager, Plant Manager, Energy manager, Finance team | Energy manager | Verified ±1% accuracy through comparison with calibrated reference meters | Not started
2.5 | System ease of use | User-friendly interface for both desktop and mobile devices | Business Case | Enhances easy access and use of the system across various devices | Could have (C) | Responsive design for different screen sizes (desktop and mobile). | Increases ease of use and user satisfaction, dynamic monitoring better system adoption. | Third party vendor, IT Department, Business analyst | IT Manager | The interface must be tested by a diverse group of end users, with a minimum satisfaction rate of 90%. | Not started
2.6 | Data management | Data retention for at least 5 years | Business Case | Support long-term energy trend analysis | Should have (S) | Sufficient storage capacity, data archiving system, data retention policy | Enables comprehensive historical analysis, | Operations team, Energy Manager, IT Department | IT manager | The system must retain and provide access to energy data for a minimum of 5 years, with proper indexing for easy retrieval. | Not started
2.8 | Automated reporting | Automated report capability for business needs and external stakeholders | Business Case | Ensure automated report template consistently | Should have (S) | Integration with compliance, business guidelines, and regulations | Reduces the time and cost associated with manual input | IT Department, Operations Team, Energy Manager,compliance and regulatory team. | IT. Manager | The system must generate all required reports automatically without manual input, according to the defined schedule (e.g., monthly, quarterly). | Not started
Technical requirement
Requirement ID | Area/Category | Description | Source | Rationale | Priority | Dependencies | Benefit | Stakeholders | Owner | Acceptance criteria | Status
3.1 | System architechture | Hybrid mix of cloud-based and on-premise solution | Business Case | Balance data accessibiltiy, secuirty, and complaince requirements | Should have (S) | Existing IT infrastructure, cloud service provider selection | Provides flexibility in data mangement | Operations&maintenance manager, data security officer | IT Manager | Successful implementation of hybrid architecture with seamless data flow between on-premise and cloud components | Not started
3.2 | Data security | Secure data transmission and storage | Business Case | Protect sensitive energy consumption data from unauthorised access or breaches | Must have(H) | Encryption protocols, secure network infrastructure | Ensures data integrity and protects company's competitive information | IEnsures data integrity and protects company's competitive information | Chief Information security officer | Implementation of end-end encryption and passing of penetration testing | Not started
3.3 | System inter-operations | API for integration with third-party systems | Business Case | Allow seamless integration with existing and future factory management systems | Should have (S) | API development, documentation, documentation of exisitng systems | Enhances interoperability and extends system functionality | IT department, operations manager, third-party vendors | IT integration specialist | Successfully integrate with at least two key existing systems (e.g., ERP, MEES) | Not started
3.4 | Data management, and business operations continuity | Regular data backups and disaster recovery plan | Business Case | Ensure business continuity incase of system failures or data loss | Should have (S) | Back up infrastructure, disaster recovery procedures | Minimise risk of data loss and ensures quick recovery from potential disasters | IT Manager, operations & maintenance manager | IT infrastructure manager | Successful monthly disaster recovery drill with recovery time < 4 hours | Not started
3.5 | Support and maintenance | 24/7 access to technical support | Business Case | Ensure continous operatios of energy monitoring system | Should have (S) | Support teams staffing , ticketing system | minimise system down time and ensures quick resolution of issues | operations & maintenance manager, IT support team | IT support manager | 90% of critical issues resolved within 2 hours, 24/7 | Not started
1 | Energy management team | Determination of inefficient equipments | Business Case | To identify areas for energy efficiency improvements | Should have (S) | Data analytics capabilities, baseline energy consumption data | Enables targeted energy-saving initiatives and cost reduction | Energy Manager, Operations Manager, Finance Department | Energy Efficiency Specialist | System can identify top 5 energy-inefficient processes monthly | Not started
Regulatory requirement
Requirement ID | Area/Category | Description | Source | Rationale | Priority | Dependencies | Benefit | Stakeholders | Owner | Acceptance criteria | Status
4.1 | Data protection and privacy | Compliance with UK data protection regulations (UK GDPR) | Business Case | Ensure legal compliance and protect sensitive data | Must have(M) | Data security measures, privacy policy | Avoids legal issues and protects company reputation | Legal department, IT department, Management | Legal counsel | System passses internal GDPR compliance audit, implementation of data subject rights mechanisms (i.e. right to access) | Not started
4.2 | International Standards compliance | Adherence to ISO 50001 Energy Management System standards | Business Case | Ensure the energy monitoring system meets internationally recognized best practices | Could have (C) | Understanding of ISO 50001 requirements, system design aligned with standards | Improves energy performance, demonstrates commitment to energy management best practices | Quality Assurance Manager, Energy Manager | Quality Assurance Manager | System passes third-party ISO 50001 certification audit | Not started
4.3 | National regulatory compliance | Compliance with UK energy efficiency regulations for medium-sized enterprises | Business Case | Ensure legal compliance with UK-specific energy efficiency requirements | Must have(M) | Current UK energy efficiency regulations, regular regulatory updates | Avoids legal issues, potential fines, and ensures eligibility for government incentives | Legal Counsel, Energy Manager, Quality Assurance, finance team | Quality Assurance Manager | Annual compliance report shows full adherence to all applicable UK energy efficiency regulations | Not started
4.4 | Environmental reporting | Reporting capabilities for carbon reduction commitment (CRC) | Business Case | To meet UK government requirements for carbon emissions reporting | Should have (S) | CRC Scheme guidelines, accurate energy consumption data | Ensures compliance with CRC scheme, avoids penalties, and supports carbon reduction efforts | Energy manager, finance team | Energy manager | System generates CRC-compliant reports that are accepted by the relevant UK authority | Not started